|  |
| --- |
| **DAILY CLOSEOUT REPORT** |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DEPARTMENT: Surgery | | | | | | | | | | LOCATION: OR | | | |
| INSTRUMENT: 26-1 | | | | | | | | | | SERIAL NUMBER: 4114 | | | |
| \* Unless otherwise specified, measurements made with GM survey meter with results in mR/h.  ✓ = background reading 0.02 mR/h  Note that Action level is 0.2 mR/h for an uncontrolled area and 5 mR/h for controlled areas. Daily closeout surveys are only required on days of use. | | | | | | | | | | | | | |
| Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Survey By |
| 10/1/20 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ |  |  |  |  | CAS |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Insert Lab Map Here: